# BIO 214 Teaching Laboratory Operations Bulletins

These bulletins are retained together for audit purposes. For a scheduled class,

use only an entry whose status is Approved and whose effective date is on or

before the class date. If more than one approved entry applies, the entry with

the latest effective date controls only the topics it explicitly addresses.

Draft, pending, and superseded entries do not change student instructions.

---

## OPS-24 - Early pilot configuration

Status: Superseded

Issued: 2026-08-18

Effective: 2026-08-24

Applies to: BIO 214 outbreak-tracing ELISA pilot

The pilot used one 12-well strip for a four-student station, a 5% shared-reagent

reserve, and an "any blue replicate" rule. Results were read after 20 minutes.

This configuration was replaced after the pilot review.

---

## OPS-27 - Section 02 station and result-control update

Status: Approved

Issued: 2026-09-10

Effective: 2026-09-14

Applies to: BIO 214 Section 02, Outbreak Tracing ELISA

Reference: use with the official Antigen Detection ELISA student procedure

## Station layout

Each four-student workstation uses two 12-well strips. Students A and B share

Strip 1; students C and D share Strip 2. On each strip, keep the wells in this

left-to-right order:

three positive-control wells,

three negative-control wells,

three wells for the first student in the pair,

three wells for the second student in the pair.

The official 50 microliter per-well loading volume is unchanged.

## Issue reserve and tip isolation

For station issue quantities, add a 10% reserve to shared positive control,

shared negative control, primary antibody, secondary antibody, and enzyme

substrate. Do not apply the reserve to student samples and do not pool student

samples.

On each strip, use one dedicated fresh micropipette tip for each source liquid:

positive control, negative control, the first student's sample, the second

student's sample, primary antibody, secondary antibody, and substrate. A tip

must never move from one strip to the other. Sample-sharing plastic transfer

pipets and wash-buffer transfer pipets are separate items and are not included

in this micropipette-tip count.

Assign one wash-buffer transfer pipet to each strip. It may be reused for wash

buffer on that same strip throughout the procedure, but it must not touch a

sample or reagent source and must not be moved to the other strip.

## Control validation and replicate calls

Validate each strip independently before interpreting either student's wells.

A strip is valid only when all three positive-control wells are blue and all

three negative-control wells remain colorless.

For a valid strip:

3 of 3 blue student wells = positive,

0 of 3 blue student wells = negative,

1 of 3 or 2 of 3 blue student wells = indeterminate.

Do not convert an indeterminate pattern into a positive or negative by majority

vote. If the controls are invalid, mark the strip invalid, do not interpret

student wells on that strip, and notify the instructor.

Read and record the color pattern from 5 through 10 minutes after substrate is

added. Do not use the pilot's 20-minute reading rule.

## Reporting and tracing

Record the three sample-sharing partners in exchange order. Trace a possible

transmission link only from a valid strip with a definite positive student call.

Do not trace from an invalid strip or an indeterminate student pattern.

## Local safety reminder

Wear gloves and protective eyewear, keep food and drink out of the work area,

and wash hands with soap before and after the exercise. For an eye splash,

start the eyewash immediately, rinse for at least 15 minutes, and alert the

instructor.

---

## OPS-29 - Proposed room contingency

Status: Pending

Issued: 2026-09-15

Proposed effective date: 2026-09-16

Applies to: possible move to SCI-216

The proposal would use a 15% reserve, one strip per pair at separate two-person

stations, and a 15-minute result read. It has not been approved and must not be

used unless a later approved change record is issued.